Abstract

This research presents a complete machine learning approach for photovoltaic (PV) energy prediction utilizing operational data from various Politecnico di Torino installations. Renewable energy integration requires accurate PV estimates for grid stability, energy management, and cost optimization.

Data analysis, robust preprocessing using feature engineering, statistical pattern recognition, and advanced machine learning model creation are used to analyze five 2014-2024 datasets. This involved testing linear regression, random forest, and XGBoost with systematic hyperparameter optimization in single-site, multi-site, and directed east-west configurations.

Results show that advanced machine learning approaches accurately forecast real-world PV installations (R² = 94-96%). Random Forest performed well, while XGBoost excelled in extreme conditions. Effective feature engineering reduced useless functions by 25-42%. All installations were best predicted by day, season, and climate variables (solar irradiance, temperature).

Single-site systems had the maximum accuracy (R² > 0.94) due to controlled settings, while multi-site setups needed customized optimization. Changing hyperparameters increased R² by 1-3% in complex multi-site scenarios.

Powerful machine learning algorithms and intelligent feature selection meet the accuracy and efficiency standards required for modern energy systems. This study verifies the potential for PV predictions, grid integration, installation-specific optimization, and energy management. An economic analysis demonstrates significant cost savings potential, with the studied installations generating €5.4 million in electricity cost reductions (from 23.05 GW of production) through optimized energy production forecasting. Furthermore, the analysis identified the tot_pv_aule_p system as the most efficient, achieving the highest maximum efficiency of 68.13% despite having a moderate capacity of only 50 KWP.